Nowe wymagania jakości usług wodociągowych dotyczące strat wody

Cel

Dyrektywa 2020/2184 w sprawie jakości wody do spożycia oraz Europejski Zielony Ład wprowadzają nowe wymagania oceny jakości usług wodociągowych i konieczności redukcji wycieków wody. Głównym celem artykułu jest porównanie metod określania strat wody, wykorzystywanych w Polsce, ze standardami międzynarodowymi, ponadto określenie gotowości polskich wodociągów do wdrażania obowiązkowych standardów szacowania wycieków.

Metodyka badan

W pracy przedstawiono przegląd literatury dotyczącej metod oceny strat wody w Polsce i za granicą. Przedstawiono dane o stratach wody na podstawie informacji z Głównego Urzędu Statystycznego oraz dane literaturowe dla wybranych 11 systemów zaopatrzenia w wodę. Na podstawie danych dokonano analizy porównawczej wybranych podmiotów.

Wyniki badań

Utworzono ranking przedsiębiorstw, analizowano wpływ danych wejściowych oraz przyjętej metodyki obliczeń na miejsce danego przedsiębiorstwa w rankingu.  Wykazano, że przyjęte założenia do obliczania wskaźników oraz wybór metody ewaluacji ma istotne znaczenie w ocenie przedsiębiorstwa.

Wnioski

Porównując zakres danych zbieranych na poziomie krajowym oraz wymagania dotyczące standardów międzynarodowych można stwierdzić, że w Polsce dane te nie są wystarczające do obliczania wartości wskaźnika ILI. Wskaźnik ILI jest w Polsce znany, lecz jego zastosowanie jest ograniczone do poziomu lokalnego. Wprowadzenie nowych wymagań dotyczących obliczania ILI na poziomie krajowym będzie wiązało się z koniecznością wdrożenia metod zbierania dużej liczby danych z wielu przedsiębiorstw wodociągowych.

Wkład w rozwój dyscypliny

Ze względu na istotną rolę wodociągów w funkcjonowaniu społeczeństw, niezbędna jest ciągła kontrola poziomu utrzymania infrastruktury w systemach zaopatrzenia. Jednym z podstawowych wskaźników oceny stanu sieci wodociągowej są straty wody. Wnioski z artykułu mogą być wykorzystane przez eksploratorów systemów zaopatrzenia w wodę do celu ich lepszej oceny.  Wyniki prac wskazują na konieczność prowadzenia dalszych badań i opracowywania nowych metod oceny systemów wodociągowych.

New requirements for the quality of water supply services regarding water losses

Objective

Directive 2020/2184 on the quality of drinking water and the European Green Deal introduce new requirements for assessing the quality of water services and the need to reduce water leakage. The main purpose of the article is to compare the methods of determining water losses used in Poland with international standards and to determine the readiness of Polish water supply systems to implement mandatory leakage estimation standards.

Research Design & Methods

The article presents a review of the literature on water loss assessment methods in Poland and abroad. For selected 11 water supply systems data on water losses were presented, based on the information from the Central Statistical Office and the literature. Based on the data, a comparative analysis of selected entities was made.

Findings

A ranking of water utilities was created. The impact of input data and the adopted calculation methodology on the position of a given entity in the ranking were analyzed. It has been shown that the assumptions made for the calculation of indicators and the choice of the evaluation method are important in the assessment of the entity.

Implications/Recommendations

Comparing the scope of data collected at the national level and the requirements for international standards, it can be concluded that in Poland these data are not sufficient to calculate the value of the ILI (infrastructure leakage index). The ILI is known in Poland, but its application is limited to the local level. The introduction of new requirements for the calculation of ILI at the national level will require the implementation of methods for collecting large amounts of data from many water utilities.

Contribution

Due to the important role of water utilities in the functioning of societies, it is necessary to constantly control the level of infrastructure maintenance in supply systems. One of the basic indicators for assessing the condition of the water supply network is water loss. The conclusion from the article can be used by water operators to better evaluate their systems. The results of the analysis indicate the need for further research and development of new methods of assessing water supply systems.